## Slide 1: Auroral omega bands are a significant cause of large geomagnetically induced currents
S. V. Apatenkov, V. A. Pilipenko, E. I. Gordeev, A. Viljanen, L. Juusola, V. B. Belakhovsky, Ya. A. Sakharov, V. Selivanov
RSF project # 19-77-10016

## Slide 2: Instrumentation and data. GIC
120A at VKH transformer

## Slide 3: DMSP UV data
Streamers -> torch like / omega bands

## Slide 4
Storm overview

## Slide 5
IMAGE local observations

## Slide 6: 2D equivalent currents applying Amm & Vilanen 1999
2D rather than 1D AEJ
Eastward moving vortices

## Slide 7: Vortex center & amplitude
FAC changes its sing and conserves amplitude
Eastward motion 1-2.5 km/s

## Slide 8: Omega bands and FACs
Pairs of FAC upward + downward
Attached to every drifting omega Amm et al. 2005

## Slide 9: Temporal vs spatial derivative
Total dB/dt up to 15nT/s directly from KIR,IVA,LOZ recordings
(Vgrad)B ~ 1.5-10 nT/s obtain as V~0.5-2 km/s gradB 3-5nT/km
Both terms are comparable!

## Slide 10: Large GIC and dB/dt occurrence
Apatenkov et al 2004
Viljanen et al. 2014, Vorobjev et al. 2019
Morning maxima
Pulsations?
1 substorm –> 5-10 Ωs

## Slide 11: Conclusions
The largest GIC at VKH related to auroral omega bands
Ionospheric currents include eastward moving vortices with alternate signs
Spatial term ≥ temporal term in total time derivative

## Slide 12
Largest GIC at VKH and KND
> 50% in morning MLT
Streamers or omegas can be found in DMSP SSUSI
Rest 50% is pre-midnight and dayside. During huge oval intervals

## Slide 13
GIC at other stations

## Slide 14
DMSP and IMAGE

## Slide 15
25 minutes of convection